MAINTENANCE TRAIL REPORT Safety-First Inspection & Service Documentation

| PROPERTY DETAILS Property Address: [123 Main St, Salt Lake City, UT] Property Type: [ ] STR [ ] Educational Facility Plan / SLA Level: [ ] Sentry [ ] Guardian [ ] School Unit / Room: [Enter unit or classroom number] | VISIT DETAILS Date of Visit: [MM/DD/YYYY] Arrival Time: [HH:MM AM/PM] Departure Time: [HH:MM AM/PM] Technician: [Full Name] Visit Type: [ ] Scheduled [ ] Emergency [ ] Move-Out Client / Owner: [Client Name] |
| --- | --- |

INSPECTION SUMMARY

| __ Items Inspected | __ Items Passed ✓ | __ Items Requiring Action ✗ |
| --- | --- | --- |

SECTION 1 — LIFE-SAFETY SWEEP

Smoke & Carbon Monoxide Detectors

| Inspection Item | Status | Notes / Action Required |
| --- | --- | --- |
| Smoke detector (main living area) — Test & battery check | ● PASS | Replace per brand schedule every 10 years |
| Smoke detector (bedroom 1) — Test & battery check | ● PASS |  |
| Smoke detector (bedroom 2) — Test & battery check | ● FAIL | Battery depleted — replaced on-site |
| Smoke detector (hallway) — Test & battery check | ● PASS |  |
| CO detector — Test & battery check | ● PASS |  |
| CO detector — Expiry date verified (max 7 yrs) | ● PASS |  |
| Detector placement compliant (ceiling / 10 ft of sleeping area) | ● PASS |  |

Emergency Egress & Fire Safety

| Inspection Item | Status | Notes / Action Required |
| --- | --- | --- |
| Fire extinguisher — Pressure gauge in green zone | ● PASS |  |
| Fire extinguisher — Inspection tag current (annual) | ● PASS |  |
| Emergency exit routes — Clear of obstruction | ● PASS |  |
| Emergency exit lighting functional (schools only) | ● N/A |  |
| Exit signage illuminated (schools only) | ● N/A |  |

Plumbing — Leak & Water Damage Check

| Inspection Item | Status | Notes / Action Required |
| --- | --- | --- |
| Under-sink cabinet (kitchen) — Visual leak check | ● PASS |  |
| Under-sink cabinet (bathroom 1) — Visual leak check | ● PASS |  |
| Under-sink cabinet (bathroom 2) — Visual leak check | ● ATTENTION | Minor moisture — monitor at next visit |
| Water heater — No pooling, pressure relief valve intact | ● PASS |  |
| Toilet — No running water / base leak | ● PASS |  |
| Supply line hoses (washer, fridge) — Checked for bulge / cracks | ● PASS |  |
| Main shut-off valve — Located & confirmed operational | ● PASS |  |

Electrical & Safety Hazards

| Inspection Item | Status | Notes / Action Required |
| --- | --- | --- |
| GFCI outlets tested (bathrooms, kitchen, exterior) | ● PASS |  |
| Visible wiring — No exposed or damaged conductors | ● PASS |  |
| Panel — No tripped breakers, labels legible | ● PASS |  |
| Outlet covers intact — No missing plates | ● PASS |  |
| Exterior lighting functional | ● FAIL | Bulb burned out — replaced on-site |

SECTION 2 — ACCESS, SECURITY & SMART SYSTEMS

| Inspection Item | Status | Notes / Action Required |
| --- | --- | --- |
| Smart lock — Battery level checked (replace <20%) | ● PASS | Battery at 62% |
| Smart lock — Remote access / code entry tested | ● PASS |  |
| Smart lock — Guest codes current / expired codes cleared | ● PASS |  |
| Deadbolt(s) — Alignment & throw tested | ● PASS |  |
| Door strike plates — Secured with 3-inch screws | ● PASS |  |
| Sliding door lock / security bar | ● PASS |  |
| Window latches — All ground-floor windows | ● PASS |  |
| Garage door — Auto-reverse safety tested (if applicable) | ● N/A |  |
| Security cameras / doorbell — Online & recording | ● PASS |  |
| WiFi router — Online, guest network active | ● PASS |  |
| Smart thermostat — Responsive, correct schedule loaded | ● PASS |  |
| Technology reset completed (router / hub / lock) | ● PASS |  |

SECTION 3 — HVAC & INDOOR COMFORT

| Inspection Item | Status | Notes / Action Required |
| --- | --- | --- |
| HVAC filter — Inspected (replace if >30% loaded) | ● FAIL | Filter replaced — record new date below |
| Filter replacement date: | ● __/__/____ | Size: ______ MERV rating: ______ |
| HVAC system — Heating mode test | ● PASS |  |
| HVAC system — Cooling mode test | ● PASS |  |
| Thermostat — Calibrated to room temp ± 2°F | ● PASS |  |
| Vents — Clear of furniture / blockages | ● PASS |  |
| Bathroom exhaust fan — Operational | ● PASS |  |
| Dryer vent — No excessive lint build-up (exterior check) | ● PASS |  |
| Condensate drain line — No algae blockage (cooling season) | ● PASS |  |

SECTION 4 — APPLIANCES & FIXTURES (GUARDIAN / DEEP-DIVE)

| Inspection Item | Status | Notes / Action Required |
| --- | --- | --- |
| Refrigerator — Running, door seals intact, no ice build-up | ● PASS |  |
| Dishwasher — Run cycle, no leaks, drain clear | ● PASS |  |
| Range / Oven — All burners / elements functional | ● PASS |  |
| Microwave — Functional, door latch intact | ● PASS |  |
| Washer — Run rinse cycle, no error codes | ● PASS |  |
| Dryer — Heating element functional, cycle completes | ● PASS |  |
| Garbage disposal — Functional, no odors | ● PASS |  |
| Water heater temperature set (120°F recommended) | ● PASS |  |

SECTION 5 — EXTERIOR PERIMETER (GUARDIAN / DEEP-DIVE)

| Inspection Item | Status | Notes / Action Required |
| --- | --- | --- |
| Entry walkway — No tripping hazards / ice in winter | ● PASS |  |
| Driveway / parking area — Usable, no major cracking | ● PASS |  |
| Exterior doors — Weather stripping intact | ● PASS |  |
| Windows — No broken seals / condensation between panes | ● PASS |  |
| Gutters — No visible blockage (visible from ground) | ● ATTENTION | Debris visible in rear gutter — schedule cleaning |
| Roof — No obvious damaged shingles (visual from ground) | ● PASS |  |
| Hose bibs — Capped / winterized (Oct–Apr) | ● N/A |  |
| Outdoor furniture / items secured | ● PASS |  |

SECTION 6 — ADA & EDUCATIONAL FACILITY ITEMS (SCHOOLS ONLY)

| Inspection Item | Status | Notes / Action Required |
| --- | --- | --- |
| Main entrance — Automatic door opener functional | ● N/A |  |
| Accessible ramp — Clear, slip-resistant, handrails secure | ● N/A |  |
| Accessible restroom — Grab bars torqued, door clearance | ● N/A |  |
| Classroom doors — Closers functional, hardware ADA compliant | ● N/A |  |
| Panic hardware (push bars) — Functional on all egress doors | ● N/A |  |
| Emergency call system / intercom — Test all zones | ● N/A |  |
| Bleachers / seating — No loose fasteners or tripping hazards | ● N/A |  |

SECTION 7 — BEFORE & AFTER PHOTO DOCUMENTATION

Insert before and after photos for every item that received attention. Each row corresponds to one work item.

| Area / Item | BEFORE | AFTER |
| --- | --- | --- |
| Smoke Detector #3 | [INSERT BEFORE PHOTO] 📷 Double-click to insert photo | [INSERT AFTER PHOTO] 📷 Double-click to insert photo |
| Ext. Light | [INSERT BEFORE PHOTO] 📷 Double-click to insert photo | [INSERT AFTER PHOTO] 📷 Double-click to insert photo |
| HVAC Filter | [INSERT BEFORE PHOTO] 📷 Double-click to insert photo | [INSERT AFTER PHOTO] 📷 Double-click to insert photo |
| Item 4 | [INSERT BEFORE PHOTO] 📷 Double-click to insert photo | [INSERT AFTER PHOTO] 📷 Double-click to insert photo |
| Item 5 | [INSERT BEFORE PHOTO] 📷 Double-click to insert photo | [INSERT AFTER PHOTO] 📷 Double-click to insert photo |
| Item 6 | [INSERT BEFORE PHOTO] 📷 Double-click to insert photo | [INSERT AFTER PHOTO] 📷 Double-click to insert photo |

SECTION 8 — WORK COMPLETED THIS VISIT

All labor performed within the monthly included hours is summarized below.

| Task Performed | Time Spent | Parts Used | Parts Cost |
| --- | --- | --- | --- |
| Replaced smoke detector battery (Bedroom 2) | 15 min | 9V Duracell x1 | $3.49 |
| Replaced burned-out exterior bulb | 10 min | LED A19 x1 | $4.99 |
| Replaced HVAC filter (20x25x1 MERV 11) | 10 min | Filter x1 | $12.99 |
| Technology reset — router & smart lock | 15 min | None | — |
| Safety Sweep & documentation | 60 min | — | — |
| TOTAL LABOR TIME THIS VISIT |  | 1 hr 50 min | $21.47 parts |

SECTION 9 — AUTOMATED FIXED-PRICE PROPOSAL (ITEMS EXCEEDING PLAN ALLOWANCE)

The following items were identified during inspection and exceed the included monthly labor. Approve this proposal to schedule the next visit.

| Work Item Description | Qty / Hours | Unit Price | Total |
| --- | --- | --- | --- |
| Gutter cleaning — rear elevation | 1 visit | $________ | $________ |
| Caulk bathroom 2 under-sink supply line joints | 0.5 hr | $________ | $________ |
| [Add item here] |  | $________ | $________ |
| TOTAL LABOR (excl. parts) |  |  | $___________ |

| CLIENT APPROVAL Signature: _________________________________ Date: _______________________ [ ] Approve All [ ] Approve Selected [ ] Decline | BILLING NOTES - Parts billed at cost + nominal shopping fee - Emergency call-outs billed at 2x–3x trip fee - Net-30/60 terms apply to institutional clients - Move-out visits: $150 trip fee + line-item labor |
| --- | --- |

SECTION 10 — TECHNICIAN NOTES & RECOMMENDATIONS

Observations: [Enter technician observations, upcoming seasonal recommendations, owner alerts, etc.] Next Recommended Visit: ___________________ Priority Items for Next Visit: - [Item 1] - [Item 2]

SIGN-OFF & CERTIFICATION

| TECHNICIAN SIGN-OFF Printed Name: _________________________ Signature: ____________________________ License #: ____________________________ Date: _________________________________ | DISCLAIMER This report documents observations made at the time of inspection and does not constitute an engineering assessment or code compliance certification. Items marked ATTENTION require follow-up. Client is advised to address FAIL items promptly. Report generated by Proactive Safety-First Maintenance — Utah |
| --- | --- |